## Slide 1
Comprehensive Redevelopment Project for Mohammadpur Government High School: Enhancing Academic Infrastructure and Sustainability
1804165 - Shoeb Ahmad Tanim
1804173 - SM Nahian Al Wasi (GL)
1804176 – Abu Naser Khan
1804177 - Muhammed Yeasin Arafat
1804179 - Shamim Azad Bakul
1804180 – Samiha Tasneem (DGL)
C2 Group- 3

## Slide 2
Location
Located at Mohammadpur
Established in 1967
Covers an area of 2,114 square meters

## Slide 3
Current Condition of The School

## Slide 4
Project
Brief
Project goal
Modernize school, enhance infrastructure,
Focus
Improve facilities, integrate technology, implement sustainability
Current infrastructure
Cracked walls, damaged doors, worn-out flooring. Lack of digital facilities hampers teaching with technology.
Objective
Create ideal learning environment for students
promote sustainability

## Slide 5
Project Description

## Slide 6
Survey and Data | Data Collected
Archeological Survey | To ensure whether it is a historical building or not. It is not a historical site.
Google Earth Survey | To find the location, projected area, and adjacent road map.
Reconnaissance Survey | To evaluate the existing situation.
Soil Condition Survey | The Sub-surface Soil Investigation Report was collected from a nearby (within 200 meters) residential building project “Madhobilata” by Monico Ltd.
Questionnaire Survey | A survey was conducted among teachers, students, and guardians to assess present circumstances and anticipate future demand.
Traffic Survey | To estimate the parking area, sidewalk width, and demand for bicycle parking.
Engineering Survey | To find the existing plan and utility line layout.
School Office Survey | To find out the current students’ data and the classroom, lab, and teacher’s room demands.
Survey And Data Sources

## Slide 7
Current Demand Analysis
Infrastructure Upgrade Urgency
Technology Integration
Co-curricular Facilities Alignment
Outdoor Spaces & Sports Facilities
Redevelopment Priorities
Future Demand Analysis
Significant Population Surge
Strategic City-Center Location
Proximity to Government Offices
Bihari Camp Adjacency
Catering to Community Needs
Modern Educational Infrastructure
Demand Analysis

## Slide 8
The First Plan Layout
(Not Chosen)
Position of the field
Natural Light & Ventilation
Traffic Flow
Community Integration
Efficient use of space
Analysis of Alternatives

## Slide 9
The Second Plan Layout
(Not Chosen)
Parking Area and facility
Teachers Room Position
Stairs Position
Auditorium Orientation
Greenery
Washroom Orientation
Analysis of Alternatives

## Slide 10
The Final Plan Layout
(Chosen)
Enhanced Student Capacity
Aesthetic Consideration & View optimization
Utilization of GF
Enhanced Classroom & Labs
Amplified Auditorium Capacity
Ample Washroom Facilities
Better Parking facility
Analysis of Alternatives

## Slide 11
Factors | Layout 1 | Layout 2 | Layout 3 (Selected Layout)
Enhanced Student Capacity | × | √ | √
Amplified Auditorium Capacity | × | × | √
Enhanced Classrooms and Labs | × | √ | √
Utilization of The Floor Area | × | √ | √
Ample Washroom Facilities | × | × | √
Aesthetic Consideration & View Optimization | × | √ | √
Better Parking Facilities | × | × | √
Corridor View Towards Football Field & Not Geneva Camp | × | √ | √
Teacher’s Room Location in A Place Where No Disturbance Will Occur. | × | × | √
Stairs Positions in Entrances. | × | × | √
Final Analysis of Alternatives

## Slide 12
3D Site Model Using Revit 2024

## Slide 13
Auditorium
Football Field
  5 floors
  43 classrooms accommodating 2752 students
  Each classroom measures 40’x30’
  125’ x 70’, accommodates 510 students
  Front stage measures
25’ x 61’
Academic Building
Parking Area
Basketball Court
  2 bicycle stands
  1 bus stand
  7 car parking
  100’x60’
  Adheres to International standards
  360’x160’
  Adheres to International standards
5 Components of the Project

## Slide 15
Project
Layout

## Slide 16
Typical
Floor
Plan

## Slide 17
Typical
Floor
Plan

## Slide 18
Factors | Old Building | New Building
Floors | 3 | 5
Classrooms | 27 | 43
Students Accommodation | 1350 | 2752
Labs | Almost in Shut down situation | Modernized
Washroom | 3 Urinals and 3 Toilets | 7 Urinals and 6 Toilets
Auditorium Accommodation | 210 | 510
Sports Facilities | Football Field | Football Field, Basketball Field & Sports Room
Comparison of Existing and Proposed Layout

## Slide 19
IEE
EMP
EIA
Red
Environmental Mitigation /Social Issues And Their Solution
The initial assessment of disaster resilience indicates that the project will not be immediately impacted
◊
Dhaka faces a medium risk of cyclones with a high level of exposure, as per the DRIP Basic Assessment of Disaster Resilience
◊
Dhaka is situated in seismic zone II, indicating moderate earthquake activity
◊
Environmental aspects are governed by The Environmental Conservation Act (amendment) 2010 and the Environmental Conservation Rules, 2023
◊
The Department of Environment (DoE), operating under the Ministry of Environment and Forest, serves as the regulatory authority responsible for enforcing the ECA’2010 and ECR’2023.
◊

## Slide 20
Construction Phase
Identification of Potential Impacts
& Mitigation
Pre-Construction Stage
Operational Phase
  Land Clearing and Site Preparation
  Vegetation Removal:
  Site Grading and Excavation
  Air Quality
  Noise Pollution
  Water Quality
  Hydrology and Drainage
  Biodiversity
  Traffic Congestion
  Air Quality
  Noise Pollution
  Water Usage and Quality
  Energy Consumption
  Waste Management
  Socio-Cultural Impacts
EMP focuses on preparations
Cost : 4,12,000/-
EMP) intensifies its efforts through comprehensive environmental monitoring
Cost: 1,30,48,000/-
EMP shifts its focus to
long-term sustainability
Environmental Mitigation /Social Issues And Their Solution

## Slide 21
Calculated capacity: 1262 PCU/hr
Estimated capacity: 883 PCU/hr
Roadway capacity remains sufficient, eliminating the need for alterations
Transportation Issues And Their Solution

## Slide 22
Economic Analysis
Benefit to Cost Ratio: 1.79
IRR: 14% which is greater than discount rate 12%
Economically Viable
Benefit
Cost
  Construction Cost
  Operation Cost
  Maintenance
  Cost
Increased
Property
Values
Job
Opportunities
Enhanced Academic Quality
Long-Term Savings
  Community Development
Ecological Consideration
Geohazard Risk Elimination
Fire Safety Enhancement

## Slide 23
Financial Analysis
The Benefit-Cost Ratio (BCR)
falls below 1
Financially Not Viable
Benefit
Cost
  Construction Cost
  Operation Cost
  Maintenance
  Cost
Increased Student Enrollment
Potential for Future Expansion
  Salvage Value

## Slide 24
Detail Design Report
Location: | Mohammadpur, Dhaka
Avg SPT value | 18
Allowable soil pressure | 6.34 ksf
Seismic zone | Zone II; Site Class: SC
Occupancy Category | Academic Building: III; Auditorium: III
Seismic Design Category | SC
Building Frame System | Intermediate Moment Resisting Frame
Foundation Type | Shallow Foundation (Isolation and Combined )
Building Code | BNBC 2020 , ACI code 318-14 ; referred to ASTM
RCC structure : Concrete Strength | 4 ksi
RCC structure : Reinforcement Strength | 60 ksi

## Slide 25
Academic Building & Auditorium Structural Details

## Slide 26
Beam Design And Detailing

## Slide 27
Beam Schedule

## Slide 28
Typical Floor Roof Beam Reinforcement Details

## Slide 29
Auditorium Beam Layout

## Slide 30
Grade Beam Detailing
& Layout

## Slide 31
Academic Building Grade Beam Layout

## Slide 32
Auditorium Grade Beam Layout

## Slide 33
Slab Design
And Details

## Slide 34
Typical Floor Slab Top Reinforcement Details

## Slide 35
Typical Floor Slab Bottom Reinforcement Details

## Slide 36
Auditorium
Slab Top Reinforcement Details

## Slide 37
Auditorium
Slab Bottom Reinforcement Details

## Slide 38
Column
Detailing

## Slide 39
Schedule
of Column

## Slide 40
Long Section of Column

## Slide 41
Long Section of Column

## Slide 42
Auditorium
Column
Layout

## Slide 43
Auditorium
Column
Schedule

## Slide 45
Stairs
Assumptions and Detailing

## Slide 46
Detailing of Academic Building Stairs

## Slide 47
Footing Design & Detailing

## Slide 48
Soil Properties
PARAMETER | NOTATION | VALUE
Soil unit weight (KN/M^3) |  | 16.2
Cohesion (Kpa) | C | 67
Void | eo | 0.88
Angle of friction |  | 29.3
Factor of safety | FS | 3
Ultimate bearing capacity (KPa) | qu | 297.45
Strain (%) | St | 8.86
Liquid Limit (%) | LL | 40
Plastic Limit (%) | PL | 20
Plasticity Index | PI | 19
PARAMETER | NOTATION | VALUE
Soil unit weight (KN/M^3) |  | 16.2
Cohesion (Kpa) | C | 67
Void | eo | 0.88
Angle of friction |  | 29.3
Factor of safety | FS | 3
Ultimate bearing capacity (KPa) | qu | 297.45
Strain (%) | St | 8.86
Liquid Limit (%) | LL | 40
Plastic Limit (%) | PL | 20
Plasticity Index | PI | 19

## Slide 49
Detailing of Isolated Footing- Type 1 (Academic Building)

## Slide 50
Detailing of Combined Footing- Type 1 (Academic Building)

## Slide 51
Detailing of Isolated Footing- Type 1 (Auditorium Building)

## Slide 52
Plumbing
Layout and Detailing

## Slide 53
  Water Is Distributed From The Overhead Tank Through 5 Inlets.
  Position Of OHWT, UGWR & Septic Tank

## Slide 54
Plumbing Layout (East Side)

## Slide 55
Plumbing Layout (North Side)

## Slide 56
  Checked against uplifting
  Volume of each of the two reservoirs: 122.5 m3
  Capacity sufficient to meet the school's water requirements for a consecutive 2-day period
Underground Water Reservoir Detailing (Through Long Walls)

## Slide 57
  Placed over stair void
  Volume: 61 m3
  Draws water twice a day from UGWR
Plumbing Layout (North Side)

## Slide 58
Septic Tank and Soakage Pit
  Septic tank capacity: 40 meter cube
  Desludging period : 3 years
  Design period : 30 years
  Soakage pit situated 3 m away from septic tank
  Connected to storm drainage system so that it doesn’t overflow

## Slide 59
The cost per square foot is Tk. 2,775
Cost Per Square Foot
The cost per square foot is Tk. 2,475
Academic Building
Auditorium
Bill Of Quantity

## Slide 61
Auditorium Cost Breakdown
Academic Building Cost Breakdown

## Slide 62
SWOT Analysis
S
STRENGTHS
  Government funded
  Comprehensive Surveys
  Sustainable Practices
  Technological Advancements
  Financial Viability
WEAKNESSES
  Construction Risks
  Dependency on External Factors
  Relocation Challenges
  Initial Investment
  Technology Adoption
OPPORTUNITIES
  Community Integration
  Technological Learning Environment
  Economic Stimulus
  Long-Term Educational Impact:
  Environmental Stewardship
THREATS
  Regulatory Changes
  Public Opposition
  Economic Fluctuations
  Unforeseen Disasters
  Technology Risks
O
W
T

## Slide 63
Implementation Timeline

## Slide 64
.
Structural analysis for earthquake resistance
Environmental impact assessments
Economicial feasibility studies
Depth of Analysis Required
Budget versus quality considerations
Balancing aesthetics and structural integrity
Resolving stakeholder preferences
Range of Conflicting Requirements
Proficiency in structural engineering and architectural design
Familiarity with building codes and regulations
Expertise in construction management and project planning
Knowledge about modern school requirements
Depth of Knowledge Required
.
Understanding of local building codes and regulations
Familiarity with green building principles
Knowledge of educational infrastructure requirements
Stakeholder collaboration
Coordination with professionals
Compliance with environmental standards
Coordination with teachers and students
Reliance on multiple stakeholders
Integration of various systems and components
Coordination between design and construction teams
Dependencies on external factors such as weather and supply chain
.
Interdepence
Level of Interaction
Complex Engineering Problems
Familiarity of Issues
Integration of innovative structural engineering techniques for earthquake resilience
Implementation of modern educational infrastructure and digital learning technologies
Incorporation of sustainable construction practices and green building principles
Innovation

## Slide 65
Coordinating stakeholders' interests: government bodies, educators, students, and local community
Balancing conflicting demands: budget, safety, sustainability, and educational requirements
Facilitating communication for consensus and resolution of diverse priorities
Managing diverse resources including materials, labor, and funding
Ensuring efficient utilization of available resources
Addressing potential resource constraints and seeking alternative solutions
Range of Resources
Choosing the classroom locations, lab & other room locations and selecting the right layout is a matter of much unfamiliarity for us as this is our first project.
Mitigating environmental impact through sustainable construction practices
Enhancing educational infrastructure for societal benefit
Ensuring safety and resilience of school structures for community well-being
Consequences for the Society and the Environment
Familiarity
Extent of Stakeholder Involvement and Conflicting Requirements
Engineering
Activities
Complex

## Slide 66
THANK
YOU